Brüel & Kjær - Noise Dose meter Link Software VP 7790  1.0    © 2000 by Brüel & Kjær

NOISE DOSEMETER SURVEY REPORT FORM

Report format	ISO Noise at Work Regulations
data filename	c:\b&k_app\fh5okt02.dta

User entered information:

Company name	
Wearer's name	
Location	
Department	
Job function	
Payroll number	
Social Security number	

User entered notes:

Notes

Setup information:

Setup name	ISO85
Dosemeter model number	Brüel & Kjær-4443
Dosemeter serial number	000000
Frequency weighting for RMS	A
Frequency weighting for Peak	Linear
Time weighting	Fast
Measurement range	70 - 140  dB

User calibration information:

Instrument last checked on	15-06-2005	10:47:52
Microphone serial number	80000758228

Logging times:			Duration
	dd-mm-yyyy	hh:mm:ss	hh:mm:ss,ss
Start of run	05-10-2005	20:50:00
End of run	05-10-2005	21:58:00
Duration of run			01:08:00,00
Duration of pause			00:00:00,00

Results of measurements:

Sound exposure	0,68  Pa2hr
Sound exposure	2461,97  Pa2sec
Daily personal exposure level Lep,d	83,3  dB
Equivalent sound level Leq	91,8  dB  Q = 3
Sound exposure level SEL	127,9  dB  No threshold; No criterion; Q = 3

Threshold level	75  dB	75  dB
Criterion level	85  dB	90  dB
Exchange rate Q	3	3
Actual measured dose	67,483  %	21,34  %
8 Hour projected dose	476,35  %	150,64  %
Average sound level Lavg	91,8  dB	91,8  dB
Time weighted average level TWA	83,3  dB	83,3  dB
User specified projected period	08:00  hh:mm	08:00  hh:mm
User specified projected dose	476,35  %	150,64  %

Exceedance times:
	hh:mm:ss.ss	for % of run
Time under range	00:10:22,00	15,24  %
Above or equal to 70  dB	00:57:38,35	84,76  %
Above or equal to 85  dB	00:39:34,18	58,19  %
Above or equal to 90  dB	00:28:56,13	42,55  %
Above or equal to 100  dB	00:01:06,25	1,62  %
Above or equal to 115  dB	00:00:00,00	0,00  %
Above or equal to 140  dB	00:00:00,00	0,00  %
Time over range	00:00:00,00	0,00  %
Above or equal to user specified level	00:45:43,95	67,25  %
User specified level	80  dB

Maximum exceedance levels:
		at dd-mm-yyyy hh:mm:ss.ss
RMS maximum level (Fast)	106,1  dB	at  05-10-2005 21:10:46
Peak exceedance level	118,6  dB	at  05-10-2005 21:11:26

Statistical exeedance levels:

L10.0%	96,0  dB
L50.0%	88,0  dB
L90.0%	---,-  dB
L95.0%	---,-  dB
L99.0%	---,-  dB

Time history profiles:

Profiles	Off
Profile sample interval	n.a.
Profile function 1	n.a.
Profile function 2	n.a.